{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":9,"n_cols":8,"rows_kept":9,"merged":[[0,0,0,7],[3,7,7,7],[8,0,8,5]]}
["02包亳州至蒙城高速公路涡阳至蒙城段房建工程"]
[]
["序号","名称","清单特征","单位","数量","单价（含税13%）","合价","备注"]
[1,"粉色铝蜂窝板成品隔断","1、隔断材料品种、规格：20mm粉红色蜂窝铝板\n2、配件品种、规格：含不锈钢收口，不锈钢门铰，不锈钢衣钩，不锈钢抽手，不锈钢门锁，有无人指示灯等配件","m2",1141.6,null,null,"1.采用覆膜工艺；\n2.面层厚度为0.6mm；\n3.铝蜂窝芯孔径为8mm*8mm；\n4.五金均选用304不锈钢材质\n5.报价含税费、运费、检测复试费等相关费用"]
[2,"卫生间小便器隔断","1、隔断材料品种、规格：20mm木纹蜂窝铝板\n2、配件品种、规格：含不锈钢收口等配件","m2",23.04]
[3,"粉色铝蜂窝板成品隔断","1、隔断材料品种、规格：20mm粉红色蜂窝铝板\n2、配件品种、规格：含不锈钢收口，不锈钢门铰，不锈钢衣钩，不锈钢抽手，不锈钢门锁，有无人指示灯等配件","m2",1113.6]
[4,"粉色铝蜂窝板成品隔断","1、隔断材料品种、规格：18mm粉红色蜂窝铝板\n2、配件品种、规格：含不锈钢收口，不锈钢门铰，不锈钢衣钩，不锈钢抽手，不锈钢门锁，有无人指示灯等配件","m2",1141.6]
[5,"卫生间小便器隔断","1、隔断材料品种、规格：18mm木纹蜂窝铝板\n2、配件品种、规格：含不锈钢收口等配件","m2",64]
["合计"]